Hydraulic Performance Curve

Motor 
Single phase/Three-phase, 50Hz/60Hz

Insulation class: 130
Protection class: IP44
Ambient temperature up to 40℃
With thermal overload protection
Copper winding

Parts Information of Self-priming Peripheral Pump

|  | Part | Material | Remark |
| --- | --- | --- | --- |
| 1 | Enclosure | Noryl |  |
| 2 | Air compensator | Iron |  |
| 3 | Mechanical seal | Silicon carbide/Graphite |  |
| 4 | Bearing | Plastic |  |
| 5 | Rotor | Cold-rolled sheet | Welded stainless steel shaft |
| 6 | End plate | Aluminum |  |
| 7 | Fan | Noryl |  |
| 8 | Fan cover | Iron |  |
| 9 | Capacitor | High quality |  |
| 10 | Stator | Aluminum casing | Cold-rolled sheet stat or |
| 11 | Pump head cover | Noryl |  |
| 12 | Non-return valve | NBR |  |
| 13 | Pump head | Noryl |  |
| 14 | Pump body | Cast iron | Electrophoretic treatment, ABS |
| 15 | Impeller | Brass |  |
| 16 | Pump cover | Brass |  |
| 17 | Tank | Iron |  |
| 18 | Pressure switch | High quality |  |